Use above chart to determine which model needed for

your motor.

Motors at or below 900 rpm CONSULT FACTORY.

PR Model Converters are not recommended for motor applications that require 100% of the motor rated HP continuously such as refrigeration, fans and pumps. They are also not recommended for long start up applications such as wheel balancer. For these type of applications see PhazPak Heavy Duty Rotary Converters.

PhazPak PR Model Converters are designed to work with motors that have medium to moderate starting loads. PhazPak PR Model converters will work well on most motor applications except those that require longer than a three-second start-up time such as a wheel balancer. PR models are also not recommended for motor applications requiring 100% of the motor rated HP continuously. This problem can be solved on many applications by simply reducing the motor pulley size by at least 20 to 30%.  Full load and multi motor applications see PhazPak Heavy Duty Rotary Converters. See instructions for cautions and limitations.

#### 1 Phase 230 V

##### From Fused Off-On Switch

# TM

Questions? ….

WWW.PhazPak.Com

Email help@phazpak.com

### Toll Free 1-866-PhazPak

3 Phase Motor

230V

3

2

1

## Selection chart and basic wiring diagram

###### 1 Year Limited Warranty

It is intended that this product be installed only by professional electric motor service personnel who have read the instruction sheet or manual in its entirety.

Due to our lack of control over the installation and/or the final use of this product, no warranty is expressed or implied other than the following:

This product is warranted to be free of defects in materials and workmanship under normal use. Non-operative or presumed defective PhazPak converter must be shipped to distributor for evaluation along with the PhazPak warranty card with the information required on the warranty card provided.

It will be the sole discretion of PhazPak to determine if this product is defective. Defective PhazPak converters will be replaced at no charge.

PhazPak phase converters found to be damaged or inoperative as a result of improper installation or from being exposed to extremely severe operating conditions will not be replaced.

The sole liability of the manufacture under this warranty is limited to replacing the defective product. PhazPak will pay no damages or penalties to anyone due to machine or motor malfunction or losses incurred resulting from installation or use of the PhazPak phase converter.

PhazPak

Red

Black

Yellow

1

2

5

8

Rotation

For.          Rev.

5

8

8

5

2

2

1

1

### L1   L2

### L1   L2

PhazPak Distributor

## Heavy Duty Solid State Phase Converter