### L1   L2

#### 1 Phase 230 V

##### From Fused Off-On Switch

PhazPak Distributor

3 Phase Motor

3

2

1

PhazPak

Use above chart to determine which model needed for your motor. Some older large frame size motors may require next larger model size.

PhazPak standard model phase converters are designed to work with motors that have light to medium starting and running loads.

PhazPak standard model phase converters are not recommended for refrigeration, air conditioning, pumps, fans, and blowers, or any application that requires the full HP of the motor continuously.

For heavier starting and running loads see PhazPak “R3” Model phase converters and PhazPak Heavy Duty Rotary Model phase converters. See instructions for cautions and limitations.

###### 1 Year Limited Warranty

It is intended that this product be installed only by professional electric motor service personnel who have read the instruction sheet or manual in its entirety.

Due to our lack of control over the installation and/or the final use of this product, no warranty is expressed or implied other than the following:

This product is warranted to be free of defects in materials and workmanship under normal use. Non-operative or presumed defective PhazPak converter must be shipped to distributor for evaluation along with the PhazPak warranty card with the information required on the warranty card provided.

It will be the sole discretion of PhazPak to determine if this product is defective. Defective PhazPak converters will be replaced at no charge.

PhazPak phase converters found to be damaged or inoperative as a result of improper installation or from being exposed to extremely severe operating conditions will not be replaced.

The sole liability of the manufacture under this warranty is limited to replacing the defective product. PhazPak will pay no damages or penalties to anyone due to machine or motor malfunction or losses incurred resulting from installation or use of the PhazPak phase converter.

# TM

Questions? ….

WWW.PhazPak.Com

Email help@phazpak.com

Toll Free 1-866-PhazPak

## Selection chart and basic wiring diagram

## Standard Models